RFP QUESTIONS (ANSWERS IN RED) – June 4 2015

1. Who else is bidding this RFP? – The District would prefer to not provide that information.
2. The T&M pricing, do you want the hourly rate to replace batteries, signage, sprinkler heads, etc. or are you looking for the cost of those material items? – T&M stands for time and material so please include the estimated $ per hour for labor along with the material.
3. If you are requiring a July 1st start date when will the work be awarded? – The work will be awarded within 4 days of the bid opening. July 1st is not a hard start day but a goal. Things will have to take place before the contracting company actually starts work.

1. “Verify monitoring signals are received at central station” – does this mean we will be able to verify signals ourselves this year, if awarded the work? – That is the goal if everything goes as planned.